## Cost Estimate
#VALUE!
Land Development
ENGINEER'S COST ESTIMATE
Form UP-2
The Engineer's cost estimate handout is based on City's Unit Price List, Form UP-1 effective January 2, 2024. Please use this form and provide with the submittal of the grading plan and improvement plan review application. Plan review fees and bond amounts are assessed using the Engineer's Cost Estimate. The engineer of work shall sign and seal the engineer's cost estimate.
#VALUE!
Revised 3/2025
STANDARD DRAWING 1 |  | ITEM | UNIT COST |  | QTY. | TOTAL
SECTION 1 - REMOVALS/RELOCATIONS
1 |  | Remove Existing Redwood Header | 3.3 | L.F. |  | 0
2 |  | Remove Curb and Gutter | 9.5 | L.F. |  | 0
3 |  | Remove A.C. Dike | 9.3 | L.F. |  | 0
4 |  | Remove Existing Sidewalk | 3 | S.F. |  | 0
5 |  | Remove Existing Paving/Base | 3 | S.F. |  | 0
6 |  | Remove Striping | 2.6 | L.F. |  | 0
7 |  | Relocate Pullbox (and associated conduit) | 490 | EA |  | 0
8 |  | Sawcut | 5.2 | L.F. |  | 0
SECTION 2 - EARTHWORK
Typical On-Site Grading (greater of cut/fill plus remedial)
9 |  | 0 - 1000 C.Y. | 29 | C.Y. |  | 0
10 |  | 1,001 - 20,000 C.Y. | 16 | C.Y. |  | 0
11 |  | 20,001 - 100,000 C.Y. | 10 | C.Y. |  | 0
12 |  | 100,001 - 350,000 C.Y. | 7 | C.Y. |  | 0
13 |  | 350,001 and above | 3 | C.Y. |  | 0
Special Grading
14 |  | Clearing and Grubbing | 0.6 | S.F. |  | 0
15 |  | Roadway Excavation | 47 | C.Y. |  | 0
16 |  | Structural Excavation | 84 | C.Y. |  | 0
Import or Export
17 |  | 0 - 1,000 | 36 | C.Y. |  | 0
18 |  | 1,001 - 19,999 | 29 | C.Y. |  | 0
19 |  | >20,000 | 16 | C.Y. |  | 0
Erosion Control
20 |  | Sand or Gravel Bag | 3.9 | EA. |  | 0
21 |  | Jute Mat | 0.6 | S.F. |  | 0
22 |  | Straw Mat | 0.4 | S.F. |  | 0
23 |  | Straw Bales | 6.5 | EA. |  | 0
24 |  | Silt Fence | 2.1 | L.F. |  | 0
25 |  | Fiber Rolls | 3.9 | L.F. |  | 0
26 |  | Fiber Mat | 0.7 | S.F. |  | 0
27 |  | Hydroseed (for erosion control only - not landscaping) | 0.5 | S.F. |  | 0
28 |  | Desilting Basins | 4 | S.F. |  | 0
29 |  | Stablilized Construction Entrance | 9 | S.F. |  | 0
30 |  | Hydraulic Mulch | 0.3 | S.F. |  | 0
31 |  | Concrete Washout | 500 | EA. |  | 0
Subdrains
32 |  | 4"-6" | 39 | L.F. |  | 0
33 |  | 8" | 45 | L.F. |  | 0
34 |  | Subdrain Headwall | 3200 | EA. |  | 0
Permanent Post Construction BMP'S
35 |  | Modular Westland System (MWS) | 45000 | EA. |  | 0
36 |  | Roadway Biorentention Basins | 100 | S.F. |  | 0
37 |  | Vegetated Bioswale | 11 | S.F. |  | 0
38 |  | Permeable Pavers with Structural Section | 23 | S.F. |  | 0
39 |  | Permeable Concrete | 21 | S.F. |  | 0
40 |  | Permaeable Asphalt | 25 | S.F. |  | 0
41 |  | Dentention (Infiltration) Basin | 10 | S.F. |  | 0
42 |  | Biofiltration Basin | 18 | S.F. |  | 0
43 |  | Hydro-Dynamic Seperator (CDS or Equal) | 11000 | EA. |  | 0
SECTION 3: DRAINAGE
44 | D-1,2,3 | Type "A,B,C" Inlet (L=4'-6') | 7500 | EA. |  | 0
45 | D-1,2,3 | Type "A,B,C" Inlet (L=7'-10') | 8400 | EA. |  | 0
46 | D-1,2,3 | Type "A,B,C" Inlet (L=11'-14') | 9300 | EA. |  | 0
47 | D-1,2,3 | Type "A,B,C" Inlet (L=15'-20') | 10200 | EA. |  | 0
48 | D-7 | Type "F" Catch Basin | 9400 | EA. |  | 0
49 | D-8 | Type "G" Catch Basin | 6200 | EA. |  | 0
50 | D-9 | Type "A" Storm Drain Cleanout | 5800 | EA. |  | 0
51 | D-10 | Type "B" Storm Drain Cleanout | 6400 | EA. |  | 0
52 | D-16 | Types "A" & "B" Corrugated Steel Pipe Inlets | 3000 | EA. |  | 0
53 | D-22 | A.C. Spillway | 410 | EA. |  | 0
54 | D-25 | Type "A & B" Curb/Sidewalk Outlet | 3200 | EA. |  | 0
55 | D-27 | Sidewalk Underdrain Pipe | 173 | EA. |  | 0
56 | D-29 | Type "I" Catch Basin | 6200 | EA. |  | 0
57 | D-32 | Type "B" Straight Headwall (12"- 36" circular pipe) | 4800 | EA. |  | 0
58 | D-34 | Wing & Type "U" Headwall (18" - 36" circular pipe) | 7000 | EA. |  | 0
59 | D-35 | Wing & Type "U" Headwall (42" - 84" circular pipe) | 10300 | EA. |  | 0
60 | D-38 | Curtain Wall | 960 | EA. |  | 0
61 | D-39 | Inlet Apron | 2560 | EA. |  | 0
| D-40 | Rip-Rap Energy Dissipator:
62 |  | 0.25 Ton | 192 | C.Y. |  | 0
63 |  | 0.50 Ton | 205 | C.Y. |  | 0
64 |  | 1.0 Ton | 218 | C.Y. |  | 0
65 |  | 2.0 Ton | 231 | C.Y. |  | 0
66 |  | 4.0 Ton | 256 | C.Y. |  | 0
67 | D-41 | Concrete Energy Dissipator | 10500 | EA. |  | 0
68 | D-62 | Pipe Collar | 3200 | EA. |  | 0
69 | D-63 | Concrete Lug (24"-72") | 1500 | EA. |  | 0
70 | D-70,-71 | Minor/Major Reinforced P.C.C. Drainage Channel | 1400 | EA. |  | 0
71 | D-72 | Cutoff Wall for Drainage Channel | 760 | EA. |  | 0
72 | D-74 | Graded Earth Channel | 75 | C.Y. |  | 0
73 | D-75 | Drainage Ditch | 32 | L.F. |  | 0
74 | D-76,-77,-78 | Single, Double, or Triple Reinforced Box Culvert | 1100 | L.F. |  | 0
75 |  | 3' Wide by 6" deep P.C.C. Cross Gutter | 53 | L.F. |  | 0
76 |  | Private Drain Inlet (12" x 12") | 200 | EA. |  | 0
77 |  | Private Drain Inlet (18" x 18") | 320 | EA. |  | 0
78 |  | Private Drain Inlet (24" x 24") | 511 | EA. |  | 0
79 |  | 4" Private Storm Drain (PVC/HDPE) | 26 | L.F. |  | 0
80 |  | 6" Private Storm Drain (PVC/HDPE) | 26 | L.F. |  | 0
81 |  | 8" Private Storm Drain (PVC/HDPE) | 45 | L.F. |  | 0
82 |  | 10" Private Storm Drain (PVC/HDPE) | 45 | L.F. |  | 0
83 |  | 12" Private Storm Drain (PVC/HDPE) | 45 | L.F. |  | 0
84 |  | 15" Private Storm Drain (PVC/HDPE) | 69 | L.F. |  | 0
85 |  | 18" Private Storm Drain (PVC/HDPE) | 84 | L.F. |  | 0
86 |  | 24" Private Storm Drain (PVC/HDPE) | 103 | L.F. |  | 0
87 |  | 30" Private Storm Drain (PVC/HDPE) | 116 | L.F. |  | 0
88 |  | 36" Private Storm Drain (PVC/HDPE) | 180 | L.F. |  | 0
89 |  | 42" Private Storm Drain (PVC/HDPE) | 205 | L.F. |  | 0
90 |  | 48" Private Storm Drain (PVC/HDPE) | 231 | L.F. |  | 0
91 |  | 18" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 122 | L.F. |  | 0
92 |  | 24" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 141 | L.F. |  | 0
93 |  | 30" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 154 | L.F. |  | 0
94 |  | 36" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 186 | L.F. |  | 0
95 |  | 42" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 212 | L.F. |  | 0
96 |  | 48" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 224 | L.F. |  | 0
97 |  | 54" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 256 | L.F. |  | 0
98 |  | 60" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 327 | L.F. |  | 0
99 |  | 66" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 372 | L.F. |  | 0
100 |  | 72" Public Storm Drain (RCP, Lined CMP, ACP, CIPP) | 372 | L.F. |  | 0
101 |  | HEC-2 Study and FEMA Revision | 55000 | L.S. |  | 0
SECTION 4 - GENERAL SURFACE IMPROVEMENTS
102 |  | Preparation of Subgrade | 0.6 | S.F. |  | 0
103 |  | Engineered Filter Fabric | 5.8 | S.F. |  | 0
104 |  | A.C. Paving 144 lbs./cu.ft. | 103 | Ton |  | 0
105 |  | 1" A.C. Paving | 0.7 | S.F. |  | 0
106 |  | 1½" A.C. Paving (overlay) | 1 | S.F. |  | 0
107 |  | 2" A.C. Paving | 1.3 | S.F. |  | 0
108 |  | 3" A.C. Paving | 1.9 | S.F. |  | 0
109 |  | Class 2 Agg. Base (140 lbs/cu/ft) | 36 | Ton |  | 0
110 |  | 1" Class Agg. Base | 0.3 | S.F. |  | 0
111 |  | Cement Treated Base (CTB) (150 lbs./cu.ft.) | 57 | Ton |  | 0
112 |  | 4" Cement Treated Base (CTB) | 1.5 | S.F. |  | 0
113 |  | 5" Cement Treated Base (CTB) | 1.5 | S.F. |  | 0
114 |  | 6" Cement Treated Base (CTB) | 1.8 | S.F. |  | 0
115 |  | 8" Cement Treated Base (CTB) | 2.3 | S.F. |  | 0
116 |  | 10" Cement Treated Base (CTB) | 2.4 | S.F. |  | 0
117 |  | 3" A.C. over 6" Class 2 Agg. Base | 3.6 | S.F. |  | 0
118 |  | 4" A.C. over 6" Class 2 Agg. Base | 4.2 | S.F. |  | 0
119 |  | 5" A.C. over 6" Class 2 Agg. Base | 4.8 | S.F. |  | 0
120 |  | 5" A.C. over 8" Class 2 Agg. Base | 5.3 | S.F. |  | 0
121 |  | 2" x 4" Redwood Header | 7.5 | L.F. |  | 0
122 | G-1 | 6" Curb Only | 21 | L.F. |  | 0
123 | G-1 | 8" Curb Only | 24 | L.F. |  | 0
124 | G-2 | Type "G" Curb and Gutter | 30 | L.F. |  | 0
125 | G-2 | Type "H" Curb and Gutter | 34 | L.F. |  | 0
126 | G-4 | Rolled Curb and Gutter | 37 | L.F. |  | 0
127 | G-5 | Type "E" A.C. Dike | 11 | L.F. |  | 0
128 | G-5 | Type "A" A.C. Dike | 13 | L.F. |  | 0
129 | G-5 | Type "B" A.C. Dike | 15 | L.F. |  | 0
130 | G-6 | Median Curb | 42 | L.F. |  | 0
131 | G-7 | P.C.C. Sidewalk (4" nominal depth) | 7 | S.F. |  | 0
132 |  | Stabilized D.G. Walkway (6" nominal depth) | 7 | S.F. |  | 0
133 |  | Roundabout (Traffic Circle and Splitter Islands) | 22 | S.F. |  | 0
134 |  | Stamped Concrete | 9 | S.F. |  | 0
135 |  | Decorative Concrete | 11 | S.F. |  | 0
136 |  | Interlocking Pavers | 18 | S.F. |  | 0
137 | G-12,-13 | P.C.C. Cross Gutter | 14 | S.F. |  | 0
138 | G-14A,B,&C | P.C.C. Driveway | 12 | S.F. |  | 0
139 | G-17 | Alley Apron | 12 | S.F. |  | 0
140 | G-22,-23 | Cutoff Wall for Drainage Channel | 1650 | EA. |  | 0
141 | G-24 | Type "B" Trench Resurfacing | 32 | S.F. |  | 0
142 | G-27 - 31 | Types "A", "B", "C" & "D" Curb Ramp | 2400 | EA. |  | 0
SECTION 5 - TRAFFIC/ELECTRICAL
Traffic Signal System (based on # of lanes at intersection:
143 |  | 2 x 2 (Tee) | 200000 | L.S. |  | 0
144 |  | 2 x 3 | 230000 | L.S. |  | 0
145 |  | 4 x 2 | 260000 | L.S. |  | 0
146 |  | 4 x 4 | 300000 | L.S. |  | 0
147 |  | 4 x 6 | 330000 | L.S. |  | 0
148 |  | 6 x 6 | 360000 | L.S. |  | 0
149 |  | 8 x 6 | 400000 | L.S. |  | 0
150 |  | Detector Loops | 600 | EA. |  | 0
151 |  | Fiber Optic Traffic Signal Interconection | 35 | L.F. |  | 0
152 |  | Video Detection (per approach) | 11000 | EA. |  | 0
Street Striping:
153 |  | 0-4,000 | 2 | L.F. |  | 0
154 |  | 4,001 + | 1 | L.F. |  | 0
155 |  | Green Thermoplastic Bike Lane Marking | 15 | L.F. |  | 0
156 |  | Speed Cushions | 2600 | EA. |  | 0
157 |  | Rectangular Rapid Flashing Beacons (RRFB System) | 22500 | EA. |  | 0
158 |  | Galvanized Telspar Steel Post | 400 | EA. |  | 0
159 |  | Single-Sided Flashing Beacon and Signs (Top Mount) | 11200 | EA. |  | 0
160 |  | Single-Sided Flashing Beacon and Signs (Side Mount) | 10900 | EA. |  | 0
161 |  | Street Signage | 0.8 | S.F. |  | 0
Electrical Systems
LED Street Lights:
162 |  | GE Evolve (Residential = 45 Watts) | 7700 | EA. |  | 0
163 |  | GE Evolve (Cul-de-Sac = 45 Watts) | 7850 | EA. |  | 0
164 |  | GE Evolve (Collectors = 95 Watts) | 8000 | EA. |  | 0
165 |  | GE Evolve (Arterials = 148 Watts) | 8150 | EA. |  | 0
166 |  | Street Light Relocation (Direct Burial) | 2000 | EA. |  | 0
167 |  | Street Light Relocation (Anchor Based) | 2500 | EA. |  | 0
168 |  | Overhead Utility Undergrounding | 675 | L.F. |  | 0
Pull Box:
169 |  | Type 3 1½ | 308 | EA. |  | 0
170 |  | Type 5 | 340 | EA. |  | 0
171 |  | Type 6 | 352 | EA. |  | 0
172 |  | Conduit, Wiring, and Trenching | 3.75 | L.F. |  | 0
SECTION 6 - LANDSCAPING
Planting
Shrubs:
173 |  | 1 gallon | 8 | EA. |  | 0
174 |  | 5 gallon | 26 | EA. |  | 0
175 |  | Parkway or Median Trees:
176 |  | 5 gallon | 20 | EA. |  | 0
177 |  | 15 gallon | 110 | EA. |  | 0
178 |  | 24" Box | 320 | EA. |  | 0
179 |  | 36" Box | 450 | EA. |  | 0
180 |  | 48" Box | 840 | EA. |  | 0
181 |  | Slope Planting (Ground Cover) | 0.7 | S.F. |  | 0
182 |  | Slope Planting (Ground Cover + Trees & Shrubs) | 1.1 | S.F. |  | 0
183 |  | Slope Hydroseeding | 0.2 | S.F. |  | 0
184 |  | Tree Grate with frame | 720 | EA. |  | 0
182 |  | Tree Maintenance (per tree) | 260 | YR. |  | 0
Irrigation
183 |  | Backflow Prevention Assembly w/enclosure | 4100 | EA. |  | 0
184 |  | Slope Irrigation | 0.8 | S.F. |  | 0
Hardscape
185 |  | Bench | 2000 | EA. |  | 0
186 |  | Trash Receptacle | 800 | EA. |  | 0
187 |  | Basic Steel Shelter w/Post, Roof, & Foundation | 150 | S.F. |  | 0
SECTION 7 - MISCELLANEOUS
| M-5,-6 | Chain Link Fence:
188 |  | 4' high | 20 | L.F. |  | 0
189 |  | 5' high | 25 | L.F. |  | 0
190 |  | 6' high | 30 | L.F. |  | 0
191 |  | Wood Fence | 12 | S.F. |  | 0
192 | M-9 | Guard Post | 310 | EA. |  | 0
193 | M-9 | Continuous Barricade | 580 | EA. |  | 0
194 | M-10 | Street Survey Monument | 2000 | EA. |  | 0
195 |  | Survey Monument Preservation | 500 | EA. |  | 0
196 | M-30 | Metal Beam Guard Rail | 39 | L.F. |  | 0
197 | DS-13 | Street Name Sign | 250 | EA. |  | 0
Bridge:
198 |  | Vehicular | 360 | S.F. |  | 0
199 |  | Pedestrain | 320 | S.F. |  | 0
Shoring:
200 |  | 5-10 feet deep | 15 | L.F. |  | 0
201 |  | 11-15 feet deep | 23 | L.F. |  | 0
202 |  | 16-20 feet deep | 32 | L.F. |  | 0
203 |  | Bridge (Vehicular) | 124 | S.F. |  | 0
204 |  | Bridge (Pedestrian) | 112 | S.F. |  | 0
205 |  | Median Barrier (Type 50, PCC) | 70 | EA. |  | 0
206 |  | Crash Cushion (G.R.E.A.T) | 48000 | EA. |  | 0
Concrete Structures
207 | C-1 to C-6 | Masonry Retaining Wall (Types 1-6) | 58 | S.F. |  | 0
208 | C-11, C-12 | Reinforced Concrete (cast-in-place) Retaining Wall | 870 | C.Y. |  | 0
209 | C-9 | Gravity Retaining Wall | 39 | S.F. |  | 0
210 |  | Crib Retaining Wall | 52 | S.F. |  | 0
211 |  | Soil Nail Wall | 125 | S.F. |  | 0
212 |  | Geogrid Wall | 35 | S.F. |  | 0
GRADING SUB-TOTAL | [5 empty] | 0
IMPROVEMENTS SUB-TOTAL | [5 empty] | 0
IMPROVEMENTS 15% CONTINGENCY | [5 empty] | 0
IMPROVEMENTS GRAND TOTAL | [5 empty] | 0
1 | Reference | 1) San Diego Area Regional Standard Drawing (SDRSD)
ENGINEER OF WORK SIGNATURE
|  | Date of Preparation | ENGINEER'S SEAL

## Engineering Review Fee
Project # and name
Part 1 Earthwork | [5 empty] | yes
Grading Plan Review Fees |  |  |  | Grading Inspection Fees |  | no
Grading amount = | 0 | C.Y. |  | inspection fees = 45% of review fees
Grading Volume (C.Y.) |  |  |  | Part 1 Grading
0-10000 |  |  |  | Inspection fees = | 0
>10000
Part 1 Grading
Plan Review fees = | 0
Part 2 Improvements
Improvement Plan Review Fees |  |  |  | Improvement Inspection Fees
improvements amount = | 0 |  |  | permit fees = 2.5% of engineer's estimate
review fees = $4700 + 1.5% of engineer's estimate
Part 2 Improvements |  |  |  | Part 2 Improvements
Plan Review fees = |  |  |  | Inspection fees = | 0
Part 3 Storm Water Review
Does the project require a PDP SWQMP? |  |  | SWQMP Review Fees =
Does the project require a SWPPP? |  |  | SWPPP Review Fees =
TOTAL FEES
TOTAL REVIEW FEES = | 0 |  | TOTAL INSPECTION FEES = |  | 0