CITY OF SAN MARCOS, CALIFORNIA

PRIORITY DEVELOPMENT PROJECT (PDP) STORM WATER QUALITY MANAGEMENT PLAN (SWQMP) FOR [INSERT PROJECT NAME] [INSERT PERMIT APPLICATION NUMBERS] [INSERT PROJECT ADDRESS] SAN MARCOS, CA [ZIP CODE] ASSESSOR'S PARCEL NUMBER(S): [INSERT APN(S)]

ENGINEER OF WORK: ___________________________________________________________________________________ [INSERT CIVIL ENGINEER'S NAME AND PE NUMBER HERE, PROVIDE WET SIGNATURE AND STAMP ABOVE LINE]

PREPARED FOR:

[INSERT APPLICANT NAME]

[INSERT ADDRESS]

[INSERT CITY, STATE ZIP CODE]

[INSERT TELEPHONE NUMBER]

PDP SWQMP PREPARED BY:

[INSERT COMPANY NAME]

[INSERT ADDRESS]

[INSERT CITY, STATE ZIP CODE]

[INSERT TELEPHONE NUMBER]

DATE OF SWQMP:

[INSERT MONTH, DAY, YEAR]

PLANS PREPARED BY:

[INSERT CIVIL ENGINEER OR ARCHITECT]

[INSERT ADDRESS]

[INSERT CITY, STATE ZIP CODE]

[INSERT TELEPHONE NUMBER]

TABLE OF CONTENTS

Acronym Sheet

PDP SWQMP Preparer's Certification Page

PDP SWQMP Project Owner's Certification Page

Submittal Record

Project Vicinity Map

FORM J-1 Applicability of Storm Water BMP Requirements

FORM J-2B Site Information Checklist for PDPs

FORM J-3 Baseline BMPS for Existing and Proposed Site Features for All Development Projects

FORM J-4 Baseline BMPs for Pollutant Generating Sources for All Development Projects

FORM J-3/J-4-E Required Explanations for BMP Infeasibility for forms J-4 and J-5

FORM J-6 Summary of PDP Structural BMPs

Attachment 1: Backup for PDP Pollutant Control BMPs

Attachment 1a: DMA Exhibit

Attachment 1b: Tabular Summary of DMAs and Design Capture Volume Calculations

Attachment 1c: Harvest and Use Feasibility Screening (when applicable)

Attachment 1d: Documentation of Infiltration feasibility (when applicable)

Attachment 1e: Pollutant Control BMP Design Worksheets / Calculations

Attachment 1f: Significant Site Design BMP Design Worksheets / Calculations (when applicable)

Attachment 2: Backup for PDP Hydromodification Control Measures

Attachment 2a: Hydromodification Management Exhibit

Attachment 2b: Management of Critical Coarse Sediment Yield Areas

Attachment 2c: Channel Screening Study (SCCWRP) (optional)

Attachment 2d: Flow Control Facility Design

Attachment 2e: Vector Control Plan (when applicable)

Attachment 3: Structural BMP Maintenance Plan

Attachment 3a: Structural BMP Maintenance Thresholds and Actions

Attachment 3b: Draft Maintenance Agreement (when applicable)

Attachment 4: Copy of Plan Sheets Showing Permanent Storm Water BMPs (using City’s template)

ACRONYMS

APN		Assessor's Parcel Number

BMP		Best Management Practice

HMP		Hydromodification Management Plan

HSG		Hydrologic Soil Group

MS4		Municipal Separate Storm Sewer System

N/A		Not Applicable

NRCS		Natural Resources Conservation Service

PDP		Priority Development Project

PE		Professional Engineer

SC		Source Control

SD		Site Design

SDRWQCB	San Diego Regional Water Quality Control Board

SIC		Standard Industrial Classification

SSD		Significant Site Design

SWQMP	Storm Water Quality Management Plan

PDP SWQMP PREPARER'S CERTIFICATION PAGE

Project Name:

Permit Application Number:

PREPARER'S CERTIFICATION

I hereby declare that I am the Engineer in Responsible Charge of design of storm water best management practices (BMPs) for this project, and that I have exercised responsible charge over the design of the BMPs as defined in Section 6703 of the Business and Professions Code, and that the design is consistent with the PDP requirements of the City of San Marcos BMP Design Manual, which is a design manual for compliance with City of San Marcos Municipal Code and regional MS4 Permit (California Regional Water Quality Control Board San Diego Region Order No. R9-2015-0100 as amended by Order No. R9-2015-0001, R9-2015-0100, and R9-2017-0077) requirements for storm water management.

I have read and understand that the City Engineer has adopted minimum requirements for managing urban runoff, including storm water, from land development activities, as described in the BMP Design Manual. I certify that this PDP SWQMP has been completed to the best of my ability and accurately reflects the project being proposed and the applicable BMPs proposed to minimize the potentially negative impacts of this project's land development activities on water quality. I understand and acknowledge that the plan check review of this PDP SWQMP by the City of San Marcos Land Development Division is confined to a review and does not relieve me, as the Engineer in Responsible Charge of design of storm water BMPs for this project, of my responsibilities for project design.

________________________________________________________

Engineer of Work's Signature, PE Number & Expiration Date

________________________________________________________

Print Name

________________________________________________________

Company

____________________________

Date

Engineer's Seal:

PDP SWQMP PROPERTY OWNER'S CERTIFICATION PAGE

Project Name:

Permit Application Number:

PROPERTY OWNER’S CERTIFICATION

This PDP SWQMP has been prepared for [INSERT PROPERTY OWNER'S COMPANY NAME] by [INSERT SWQMP PREPARER'S COMPANY NAME]. The PDP SWQMP is intended to comply with the PDP requirements of the City of San Marcos BMP Design Manual, which is a design manual for compliance with City of San Marcos Municipal Code and regional MS4 Permit (California Regional Water Quality Control Board San Diego Region Order No. R9-2015-0100 as amended by Order No. R9-2015-0001, R9-2015-0100, and R9-2017-0077) requirements for storm water management.

The undersigned, while it owns the subject property, is responsible for the implementation of the provisions of this plan. Once the undersigned transfers its interests in the property, its successor-in-interest shall bear the aforementioned responsibility to implement the best management practices (BMPs) described within this plan, including ensuring on-going operation and maintenance of structural BMPs. A signed copy of this document shall be available on the subject property into perpetuity.

________________________________________________________

Property Owner's Signature

________________________________________________________

Print Name

________________________________________________________

Company

____________________________

Date

SUBMITTAL RECORD

Use this Table to keep a record of submittals of this PDP SWQMP. Each time the PDP SWQMP is re-submitted, provide the date and status of the project. In column 4 summarize the changes that have been made or indicate if response to plancheck comments is included. When applicable, insert response to plancheck comments behind this page.

| Submittal Number | Date | Project Status | Summary of Changes |
| --- | --- | --- | --- |
| 1 |  | - Preliminary Design / Planning/ CEQA - Final Design | Initial Submittal |
| 2 |  | - Preliminary Design / Planning/ CEQA - Final Design |  |
| 3 |  | - Preliminary Design / Planning/ CEQA - Final Design |  |
| 4 |  | - Preliminary Design / Planning/ CEQA - Final Design |  |

PROJECT VICINITY MAP

[Insert Project Vicinity Map here]

| Applicability of Storm Water Best Management Practices (BMP) Requirements (Storm Water Intake Form for all Development Permit Applications) |  |  | Form J-1 [July 2025] |
| --- | --- | --- | --- |
| Project Identification |  |  |  |
| Project Name: |  |  |  |
| Description: |  |  |  |
| Permit Application Number (if applicable): |  |  | Date: |
| Project Address: |  | APN: |  |
| The project is (select one): New Development Redevelopment |  |  |  |
| The total proposed newly created or replaced impervious area is: ________ ft2 (________) acres |  |  |  |
| The total proposed disturbed area is: ________ ft2 (________) acres |  |  |  |
| Determination of Requirements |  |  |  |
| This form is required as part of the City’s application process. The purpose of this form is to identify potential land development planning storm water requirements that apply to development projects. Depending on the outcome, the project will either be subject to “Standard Project,” “Priority Development,” and/or “Trash Capture” requirements, or the project will not be considered a development project. Development projects are defined as: construction, rehabilitation, redevelopment, or reconstruction of any public or private development projects. In addition, the identification of a development project, as it relates to storm water regulations, would truly apply to development and redevelopment activities that have the potential to contact storm water and contribute a source of pollutants, or reduce the natural absorption and infiltration abilities of the land. To access the BMP Design Manual, Storm Water Quality Management Plan (SWQMP) templates, and other pertinent information related to this program please refer to: http://www.san-marcos.net/departments/development-services/watershed/development-planning Please contact Land Development Engineering staff with any questions on this form: engineeringdivision@san-marcos.net |  |  |  |
| Please answer each of the following steps below, starting with Step 1 and progressing through each step as noted. |  |  |  |
| STEP 1: Determine if project is a “development project” |  |  |  |
| Question | Answer |  |  |
| Is the project a "development project" (See definition above)? See Section 1.3 of the BMP Design Manual for further guidance, if necessary. | - Yes, continue to Step 2. - No, permanent BMP requirements do not apply. No SWQMP will be required. Provide brief discussion below then Skip to Step 5 and select “Not a development project” |  |  |
| Discussion / justification if the project is not a "development project" (e.g., the project includes only interior remodels within an existing building): |  |  |  |

| STEP 2: Determine if project is exempt from PDP requirements pursuant to MS4 Permit Provision E.3.b. (3) |  |
| --- | --- |
| Question | Answer |
| Is the project limited to any of the following: Option 1. Constructing new or retrofitting paved sidewalks, bicycle lanes or trails which are one or more of the following: - Designed and constructed to direct storm water runoff to adjacent vegetated areas, or other nonerodable permeable areas - Designed and constructed to be hydraulically disconnected from paved streets or roads - Designed and constructed with permeable pavements or surfaces in accordance with USEPA Green Streets guidance Option 2. Retrofitting or redeveloping existing paved alleys, streets, or roads that are designed and constructed in accordance with the USEPA Green Streets guidance Option 3. Ground Mounted Solar Array that meets the criteria provided in section 1.4.2 of the BMP manual | - Yes, permanent BMP requirements do not apply. Provide brief discussion below, identifying which Option applies to the project then skip to Step 4 to determine if Trash Capture requirements apply. In Step 5 select “Standard Project” - No, project is not PDP exempt. Continue to Step 3. |
| Discussion / justification, and additional requirements for exceptions to PDP definitions, if applicable: |  |

| Step 3: Determine if project is a Priority Development Project (PDP) |  |  |
| --- | --- | --- |
| Question |  | Answer |
| Step 3a: Please answer all the following questions then continue to Step 3b: |  |  |
| New development projects that create 10,000 square feet or more of impervious surfaces (collectively over the entire project site). This includes commercial, industrial, residential, mixed-use, and public development projects on public or private land. |  | - Yes - No |
| Redevelopment projects that create and/or replace 5,000 square feet or more of impervious surface (collectively over the entire project site on an existing site of 10,000 square feet or more of impervious surfaces). This includes commercial, industrial, residential, mixed-use, and public development projects on public or private land. |  | - Yes - No |
| New and redevelopment projects that create and/or replace 5,000 square feet or more of impervious surface (collectively over the entire project site), and support one or more of the following uses: - Restaurants. This category is defined as a facility that sells prepared foods and drinks for consumption, including stationary lunch counters and refreshment stands selling prepared foods and drinks for immediate consumption (Standard Industrial Classification (SIC) code 5812). - Hillside development projects. This category includes development on any natural slope that is twenty-five percent or greater. - Parking lots. This category is defined as a land area or facility for the temporary parking or storage of motor vehicles used personally, for business, or for commerce. - Streets, roads, highways, freeways, and driveways. This category is defined as any paved impervious surface used for the transportation of automobiles, trucks, motorcycles, and other vehicles. |  | - Yes - No |
| New or redevelopment projects that create and/or replace 2,500 square feet or more of impervious surface (collectively over the entire project site) and discharging directly to an Environmentally Sensitive Area (ESA). “Discharging directly to” includes flow that is conveyed overland a distance of 200 feet or less from the project to the ESA or conveyed in a pipe or open channel any distance as an isolated flow from the project to the ESA (i.e. not commingled with flows from adjacent lands). Note: ESAs are areas that include but are not limited to all Clean Water Act Section 303(d) impaired water bodies; areas designated as Areas of Special Biological Significance by the State Water Board and San Diego Water Board; State Water Quality Protected Areas; water bodies designated with the RARE beneficial use by the State Water Board and San Diego Water Board; and any other equivalent environmentally sensitive areas which have been identified by the Copermittees. See BMP Design Manual Section 1.4.2 for additional guidance |  | - Yes - No |
| New development projects, or redevelopment projects that create and/or replace 5,000 square feet or more of impervious surface, that support one or more of the following uses: - Automotive repair shops. This category is defined as a facility that is categorized in any one of the following SIC codes: 5013, 5014, 5541, 7532-7534, or 7536-7539. - Retail gasoline outlets (RGOs). This category includes RGOs that meet the following criteria: (a) 5,000 square feet or more or (b) a projected Average Daily Traffic (ADT) of 100 or more vehicles per day. |  | - Yes - No |
| New or redevelopment projects that result in the disturbance of one or more acres of land and are expected to generate pollutants post construction. Note: See BMP Design Manual Section 1.4.2 for additional guidance. |  | - Yes - No |
| Question | Answer |  |
| Step 3b: Was “Yes” selected for one or more of the questions above? | - Yes, project is a PDP. If project is a redevelopment project, continue to Step 3c. If project is a new development project, Skip to Step 4. In Step 5 select “Priority Development Project (PDP)” - No, project is a Standard Project, Skip to Step 4 to determine if Trash Capture requirements apply. In Step 5 select “Standard Project” |  |
| Step 3c: For redevelopment projects, provide the following information and continue to Step 3d: The area of existing (pre-project) impervious area at the project site is: __________ ft2 (A) The total proposed newly created or replaced impervious area is __________ ft2 (B) Percent impervious surface created or replaced (B/A)*100: _______% |  |  |
| Step 3d: Is the percent impervious surface created or replaced less than or equal to fifty percent? | - Yes, only new impervious areas are considered PDP. Continue to Step 4. - No, entire project area is considered PDP. Continue to Step 4. |  |

| Step 4: Determine if trash capture requirements apply |  |
| --- | --- |
| Question | Answer |
| Step 4a: Is the Project within any of the following Priority Land Use (PLU) categories? High Density Residential (R-2, R-3-6, R3-10) Industrial (L-I, B-P, I, I-2) Commercial (C, NC, OP, SR) Mixed Urban (MU-1, MU-2, MU-3, MU-4) Public Transportation Stations | - Yes, continue to Step 4b. - No, project is exempt from Trash Capture requirements. Provide brief discussion below then Skip to Step 5. |
| Step 4b: Is the project limited to any of the following: Option 1: A single family home or an addition or alteration of one single family home? Option 2: An accessory dwelling unit (ADU)? Option 3: Creating equal to or less than 250 SF of new or replaced impervious area? Option 4: Trenching of underground utilities? Option 5: EV charging stations, self-sustaining fuel cells, transformers, generators and related supporting infrastructure? | - Yes, project is exempt from Trash Capture requirements. Provide brief discussion below, identifying which Option applies to the project then continue to Step 5. - No, project is subject to Trash Capture requirements. Continue to Step 5 and Select “Trash Capture” in addition to Standard or PDP. |
| Discussion / justification if trash capture requirements do not apply: |  |
| Step 5: Identify project type. Select the applicable project type(s) below based on Step 1-4 of this form: |  |
| - Not a development project: project is not subject to requirements in the BMP manual |  |
| - Trash Capture: project must comply with trash capture requirements and provide a PDP or Trash Capture SWQMP |  |
| - Standard Project: project must comply with stormwater requirements of the BMP manual and provide completed Forms J-3 and J-4 |  |
| - Priority Development Project (PDP): project must comply with stormwater requirements of the BMP manual and provide a PDP SWQMP |  |

| Site Information Checklist For PDPs |  | Form J-2B (PDP) [July 2025] |
| --- | --- | --- |
| Project Summary Information |  |  |
| Project Hydrologic Unit | Select One: Carlsbad 904 |  |
| Project Watershed (Refer to Figure A.2-1 in Appendix A for Hydrologic Sub Areas map) | Select One: Agua Hedionda 904.31 904.32 San Marcos 904.51 904.52 904.53 Escondido Creek 904.61 904.62 |  |
| Parcel Area (total area of Assessor's Parcel(s) associated with the project) | ________ Acres (____________ Square Feet) |  |
| Area to be Disturbed by the Project (Project Area) | ________ Acres (____________ Square Feet) |  |
| Project Proposed Impervious Area (subset of Project Area) | ________ Acres (____________ Square Feet) |  |
| Project Proposed Pervious Area (subset of Project Area) | ________ Acres (____________ Square Feet) |  |
| Note: Proposed Impervious Area + Proposed Pervious Area = Area to be Disturbed by the Project. This may be less than the Parcel Area. |  |  |
| Description of Existing Site Condition |  |  |
| Current Status of the Site (select all that apply): - Existing development - Previously graded but not built out - Demolition completed without new construction - Agricultural or other non-impervious use - Vacant, undeveloped/natural Description / Additional Information: |  |  |

Existing Land Cover Includes (select all that apply): - Vegetative Cover - Non-Vegetated Pervious Areas - Impervious Areas Description / Additional Information:

Underlying Soil belongs to Hydrologic Soil Group (select all that apply): - NRCS Type A - NRCS Type B - NRCS Type C - NRCS Type D

Approximate Depth to Groundwater (GW): - GW Depth < 5 feet - 5 feet < GW Depth < 10 feet - 10 feet < GW Depth < 20 feet - GW Depth > 20 feet

Existing Natural Hydrologic Features (select all that apply): - Watercourses - Seeps - Springs - Wetlands - None Description / Additional Information:

Description of Existing Site Drainage [How is storm water runoff conveyed from the site? At a minimum, this description should answer (1) whether existing drainage conveyance is natural or urban; (2) describe existing constructed storm water conveyance systems, if applicable; and (3) is runoff from offsite conveyed through the site? if so, describe.]:

Description of Existing Site Drainage Patterns

How is storm water runoff conveyed from the site? At a minimum, this description should answer: (1) whether existing drainage conveyance is natural or urban; (2) Is runoff from offsite conveyed through the site? if yes, quantify all offsite drainage areas, design flows, and locations where offsite flows enter the project site, and summarize how such flows are conveyed through the site; (3) Provide details regarding existing project site drainage conveyance network, including any existing storm drains, concrete channels, swales, detention facilities, storm water treatment facilities, natural or constructed channels; and (4) Identify all discharge locations from the existing project site along with a summary of conveyance system size and capacity for each of the discharge locations. Provide summary of the pre-project drainage areas and design flows to each of the existing runoff discharge locations. Describe existing site drainage patterns:

Description of Proposed Site Development

Project Description / Proposed Land Use and/or Activities:

List/describe proposed impervious features of the project (e.g., buildings, roadways, parking lots, courtyards, athletic courts, other impervious features):

List/describe proposed pervious features of the project (e.g., landscape areas):

Does the project include grading and changes to site topography? - Yes - No Description / Additional Information:

Description of Proposed Site Drainage Patterns

Does the project include changes to site drainage (e.g., installation of new storm water conveyance systems)? - Yes - No If yes, provide details regarding the proposed project site drainage conveyance network, including storm drains, concrete channels, swales, detention facilities, storm water treatment facilities, natural or constructed channels, and the method for conveying offsite flows through or around the proposed project site. Identify all discharge locations from the proposed project site along with a summary of the conveyance system size and capacity for each of the discharge locations. Provide a summary of pre- and post-project drainage areas and design flows to each of the runoff discharge locations. Reference the drainage study for detailed calculations. Describe proposed site drainage patterns:

| Identification and Narrative of Receiving Water and Pollutants of Concern |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Describe flow path of storm water from the project site discharge location(s), through urban storm conveyance systems as applicable, to receiving creeks, rivers, and lagoons as applicable, and ultimate discharge to the Pacific Ocean (or bay, lagoon, lake or reservoir, as applicable): |  |  |  |  |  |
| List any 303(d) impaired water bodies within the path of storm water from the project site to the Pacific Ocean (or bay, lagoon, lake or reservoir, as applicable), identify the pollutant(s)/stressor(s) causing impairment, and identify any TMDLs and/or Highest Priority Pollutants from the WQIP for the impaired water bodies: |  |  |  |  |  |
| 303(d) Impaired Water Body |  | Pollutant(s)/Stressor(s) |  | TMDLs / WQIP Highest Priority Pollutant |  |
| Identification of Project Site Pollutants |  |  |  |  |  |
| Identify pollutants expected from the project site based on all proposed use(s) of the site (see BMP Design Manual Appendix B.6): |  |  |  |  |  |
| Pollutant | Not Applicable to the Project Site |  | Expected from the Project Site |  | Also a Receiving Water Pollutant of Concern |
| Sediment |  |  |  |  |  |
| Nutrients |  |  |  |  |  |
| Heavy Metals |  |  |  |  |  |
| Organic Compounds |  |  |  |  |  |
| Trash & Debris |  |  |  |  |  |
| Oxygen Demanding Substances |  |  |  |  |  |
| Oil & Grease |  |  |  |  |  |
| Bacteria & Viruses |  |  |  |  |  |
| Pesticides |  |  |  |  |  |

Hydromodification Management Requirements

Do hydromodification management requirements apply (see Section 1.6 of the BMP Design Manual)? - Yes, hydromodification management flow control structural BMPs required. - No, the project will discharge runoff directly to existing underground storm drains discharging directly to water storage reservoirs, lakes, enclosed embayments, or the Pacific Ocean. - No, the project will discharge runoff directly to conveyance channels whose bed and bank are concrete-lined all the way from the point of discharge to water storage reservoirs, lakes, enclosed embayments, or the Pacific Ocean. - No, the project will discharge runoff directly to an area identified as appropriate for an exemption by the WMAA for the watershed in which the project resides. Description / Additional Information (to be provided if a 'No' answer has been selected above):

Critical Coarse Sediment Yield Areas* *This Section only required if hydromodification management requirements apply

Based on the maps provided within the WMAA, do potential critical coarse sediment yield areas exist within the project drainage boundaries? - Yes - No, no critical coarse sediment yield areas (CCSYA) to be protected based on WMAA maps If yes, demonstrate that CCSYA is not impacted per Appendix H of the BMP Design Manual and check the following that apply: - On-site impacts are avoided, therefore no further analysis is required. - On-site and/or upstream CCSYAs are passed through to the downstream channel, therefore no further analysis is required. - CCSYAs are not avoided or bypassed through the site, therefore a No Net Impact Analysis has been provided in Attachment 2b. Discussion / Additional Information:

Flow Control for Post-Project Runoff* *This Section only required if hydromodification management requirements apply

List and describe point(s) of compliance (POCs) for flow control for hydromodification management (see Section 6.3.1). For each POC, provide a POC identification name or number correlating to the project's HMP Exhibit and a receiving channel identification name or number correlating to the project's HMP Exhibit.

Has a geomorphic assessment been performed for the receiving channel(s)? - No, the low flow threshold is 0.1Q2 (default low flow threshold) - Yes, the result is the low flow threshold is 0.1Q2 - Yes, the result is the low flow threshold is 0.3Q2 - Yes, the result is the low flow threshold is 0.5Q2 If a Channel Screening Study (SCCWRP) has been performed, provide title, date, and preparer: Discussion / Additional Information: (optional)

Other Site Requirements and Constraints

When applicable, list other site requirements or constraints that will influence storm water management design, such as zoning requirements including setbacks and open space, or local codes governing minimum street width, sidewalk construction, allowable pavement types, and drainage requirements.

Optional Additional Information or Continuation of Previous Sections As Needed

This space provided for additional information or continuation of information from previous sections as needed.

| Baseline BMPs for Existing and Proposed Site Features for All Development Projects |  |  |  |  |  |  |  | Form J-3 [July 2025] |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. BMPS for Existing Natural Site Features (See Fact Sheet BL-1) |  |  |  |  |  |  |  |  |
| 1. Check the boxes below for each existing feature on the site. |  |  | 2. Select the BMPs to be implemented for each identified feature. Explain why any BMP not selected is infeasible in Form J-3/J-4-E |  |  |  |  |  |
| Check here if none are applicable |  |  | 2a. Conserve natural features (SD-G) |  |  | 2b. Provide buffers around waterbodies (SD-H) |  |  |
| Natural Waterbodies |  |  |  |  |  |  |  |  |
| Natural storage reservoirs & drainage corridors |  |  |  |  |  | -- |  |  |
| Natural areas, soils, & vegetation (incl. trees) |  |  |  |  |  | -- |  |  |
| B. BMPs for Common Impervious Outdoor Site Features (See Fact Sheet BL-2) |  |  |  |  |  |  |  |  |
| 1. Check the boxes below for each proposed feature. | 2. Select the BMPs to be implemented for each proposed feature. If neither BMP SD-B, nor SD-I is selected for a feature, explain why both BMPs are infeasible in Form J-3/J-4-E |  |  |  |  |  |  |  |
| Check here if none are applicable | 2a. Direct runoff to pervious areas (SD-B) |  |  | 2b. Construct surfaces from permeable materials (SD-I) |  |  | 2c. Minimize the size of impervious areas |  |
| Streets and roads |  |  |  |  |  |  | Check this box to confirm that all impervious areas on the site will be minimized where feasible. If this box is not checked, identify the surfaces that cannot be minimized, and explain why it is infeasible to do so in Form J-3/J-4-E |  |
| Sidewalks & walkways |  |  |  |  |  |  |  |  |
| Parking areas & lots |  |  |  |  |  |  |  |  |
| Driveways |  |  |  |  |  |  |  |  |
| Patios, decks, & courtyards |  |  |  |  |  |  |  |  |
| Hardcourt recreation areas |  |  |  |  |  |  |  |  |
| Other: |  |  |  |  |  |  |  |  |
| C. BMPs for Rooftop Areas: Check this box if rooftop areas are proposed and select at least one BMP below. If no BMPs are selected, explain why they are infeasible in Form J-3/J-4-E |  |  |  |  |  |  | (See Fact Sheet BL-3 for descriptions) |  |
| Direct runoff to pervious areas (SD-B) |  | Install green roofs (SD-C) |  |  | Install rain barrels (SD-E) |  |  |  |
| D. BMPs for Landscaped Areas: Check this box if landscaping is proposed and select at least one BMP below. If no BMPs are selected, explain why they are infeasible in Form J-3/J-4-E |  |  |  |  |  |  | (See Fact Sheet BL-4 for descriptions) |  |
| Sustainable Landscaping (SD-K) |  |  |  |  |  |  |  |  |

Note: All features and BMPS must be shown on applicable construction plans. See applicable Fact Sheets in Appendix D of the BMP Design Manual for additional Information.

Use Form J-3/J-4-E to explain BMP feasibility or inapplicability, or to describe features not listed in this form. Additional explanation may be required by City Staff.

| Baseline BMPs for Pollutant Generating Sources for All Development Projects |  |  |  |  |  |  | Form J-4 [July 2025] |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| A. Management of Stormwater Discharges |  |  |  |  |  |  |  |  |  |  |
| 1. Identify all proposed outdoor work areas below | 2. Which BMPs will be used to prevent materials from contacting rainfall or runoff? (See Fact Sheet BL-5) |  |  |  |  | 3. Where will runoff from the work area be routed? (See Fact Sheet BL-6) |  |  |  |  |
| Check here if none are proposed | (Select all feasible BMPs for each work area) |  |  |  |  | (Select one or more for each work area) |  |  |  |  |
|  | Overhead covering (rooftops, etc.) (SC-A) |  | Separation of flows from adjacent areas (berms, etc.) (SC-B) |  | Wind protection (screens, etc.) (SC-C) | Sanitary sewer (SC-D) |  | Containment system SC-E) | Stormwater S-BMP or SSD-BMP | Other |
| Trash & Refuse Storage |  |  |  |  |  |  |  |  |  |  |
| Materials & Equipment Storage |  |  |  |  |  |  |  |  |  |  |
| Loading & Unloading |  |  |  |  | -- |  |  |  |  |  |
| Fueling |  |  |  |  | -- |  |  |  |  |  |
| Maintenance & Repair |  |  |  |  | -- |  |  |  |  |  |
| Vehicle & Equipment Cleaning |  |  |  |  | -- |  |  |  |  |  |
| Other: |  |  |  |  | -- |  |  |  |  |  |
| B. Prevention of Non-stormwater Discharges (See Fact Sheet BL-7) |  |  |  |  |  |  |  |  |  |  |
| Select on option for each feature below: |  |  |  |  |  |  |  |  |  |  |
| •Storm drain inlets and catch basins… |  | are not proposed. |  | will be labeled with stenciling or signage to discourage dumping (SC-F). |  |  |  |  |  |  |
| •Educational BMP Signage… |  | are not proposed. |  | will be labeled with educational signage (SC-G). |  |  |  |  |  |  |
| •Interior work surfaces, floor drains, & sumps… |  | are not proposed. |  | will not discharge directly or indirectly to the MS4 or receiving waters. |  |  |  |  |  |  |
| •Drain lines (e.g. air conditioning, boiler, etc.)… |  | are not proposed. |  | will not discharge directly or indirectly to the MS4 or receiving waters. |  |  |  |  |  |  |
| •Fire sprinkler test water… |  | are not proposed. |  | will not discharge directly or indirectly to the MS4 or receiving waters. |  |  |  |  |  |  |

| Required Explanations for BMP Infeasibility for forms J-3 and J-4 |  |  | Form J-3/J-4-E [July 2025] |
| --- | --- | --- | --- |
| Baseline BMPs (from J-3 and J-4) - Required Justifications: Provide explanations of BMP inapplicability and/or infeasibility as indicated per forms J-3 and J-4. Justify why individual BMPs will not be implemented or will only be partially implemented. - Additional Explanation: Describe any proposed features and/or BMPs not listed in forms J-3 or J-4. |  |  |  |
| BMP-Feature Combination |  | Explanation |  |
| Feature |  |  |  |
| BMP |  |  |  |
| Feature |  |  |  |
| BMP |  |  |  |
| Feature |  |  |  |
| BMP |  |  |  |
| Feature |  |  |  |
| BMP |  |  |  |

| Summary of PDP Structural BMPs | Form J-5 (PDPs) [July 2025] |
| --- | --- |
| PDP Structural BMPs |  |
| All PDPs must implement structural BMPs for storm water pollutant control (see Chapter 5 of the BMP Design Manual). Selection of PDP structural BMPs for storm water pollutant control must be based on the selection process described in Chapter 5. PDPs subject to hydromodification management requirements must also implement structural BMPs for flow control for hydromodification management (see Chapter 6 of the BMP Design Manual). PDPs subject to trash capture requirements, must also implement structural BMPs for trash capture (see Chapter 4 of the BMP Design Manual). Storm water pollutant control, flow control for hydromodification management, trash capture control, and flood control detention can be achieved within the same structural BMP(s). PDP structural BMPs must be verified by the City of San Marcos at the completion of construction. This will include requiring the project owner or project owner's representative and engineer of record to certify construction of the structural BMPs (see Section 1.12 of the BMP Design Manual). PDP structural BMPs must be maintained into perpetuity, and the City of San Marcos must confirm the maintenance (see Section 7 of the BMP Design Manual). Use this form to provide narrative description of the general strategy for structural BMP implementation at the project site in the box below. Then complete the PDP structural BMP summary information sheet (page 3 of this form) for each structural BMP within the project (copy the BMP summary information page as many times as needed to provide summary information for each individual structural BMP). |  |
| Describe the general strategy for structural BMP implementation at the site. This information must describe how the steps for selecting and designing storm water pollutant control BMPs presented in Section 5.1 of the BMP Design Manual were followed, and the results (type of BMPs selected). For projects requiring hydromodification flow control BMPs, indicate whether pollutant control and flow control BMPs are integrated or separate. (Continue on next page as necessary.) |  |

(Page reserved for continuation of description of general strategy for structural BMP implementation at the site)

| Structural BMP Summary Information (Copy this page as needed to provide information for each individual proposed structural BMP) |  |
| --- | --- |
| Structural BMP ID No. |  |
| Construction Plan Sheet No. |  |
| Type of structural BMP: - Retention by harvest and use (HU-1) - Retention by infiltration basin (INF-1) - Retention by bioretention (INF-2) - Retention by permeable pavement (INF-3) - Partial retention by biofiltration with partial retention (PR-1) - Biofiltration (BF-1) - Biofiltration with Nutrient Sensitive Media Design (BF-2) - Proprietary Biofiltration (BF-3) meeting all requirements of Appendix F - Flow-thru included as pre-treatment/forebay for an onsite retention or biofiltration BMP (provide BMP type/description and indicate which onsite retention or biofiltration BMP it serves in discussion section below) - Detention pond or vault for hydromodification management - Other (describe in discussion section below) |  |
| Purpose (select all that apply): - Pollutant control - Hydromodification control - Detention of the 100-year storm event (conjunctive use) |  |
| - Pre-treatment/forebay for another structural BMP - Trash Capture - Other (describe in discussion section below) |  |
| Who will certify construction of this BMP? Provide name and contact information for the party responsible to sign BMP verification forms if required by the City Engineer (See Section 1.12 of the BMP Design Manual) |  |
| Who will be the final owner of this BMP? |  |
| Who will maintain this BMP into perpetuity? |  |
| What is the funding mechanism for maintenance? |  |

Structural BMP Summary Information (Copy this page as needed to provide information for each individual proposed structural BMP)

Structural BMP ID No.

Construction Plan Sheet No.

Discussion (as needed):

ATTACHMENT 1

BACKUP FOR PDP POLLUTANT CONTROL BMPS

This is the cover sheet for Attachment 1.

Indicate which Items are Included behind this cover sheet:

| Attachment Sequence | Contents | Checklist |
| --- | --- | --- |
| Attachment 1a | DMA Exhibit (Required) See DMA Exhibit Checklist on next page. | - Included |
| Attachment 1b | Tabular Summary of DMAs Showing DMA ID (Worksheet B.1) matching DMA Exhibit, DMA Area, and DMA Type (Required)* *Provide table in this Attachment OR on DMA Exhibit in Attachment 1a | - Included on DMA Exhibit in Attachment 1a - Included as Attachment 1b, separate from DMA Exhibit |
| Attachment 1c | Form J-6, Harvest and Use Feasibility Screening Checklist (Required only for habitable structures over 9 stories in height) Refer to Appendix B.4.2 of the BMP Design Manual to complete Form J-6. | - Included - N/A |
| Attachment 1d | Supporting documentation for Analysis of Infiltration Restrictions in the form of Geotechnical Report and SWQMP preparer conclusions (Required) Refer to Appendix C of the BMP Design Manual guidance. | - Included |
| Attachment 1e | Pollutant Control BMP Design Worksheets / Calculations (Required) (Worksheets B.2 and B.3) Refer to Appendices B and E of the BMP Design Manual for structural pollutant control BMP design guidelines | - Included |
| Attachment 1f | Significant Site Design BMP Design Worksheets / Calculations (when applicable) Refer to Appendix I | - Included - N/A |

Use this checklist to ensure the required information has been included on the DMA Exhibit:

The DMA Exhibit must identify:

- Underlying hydrologic soil group

- Approximate depth to groundwater

- Existing natural hydrologic features (watercourses, seeps, springs, wetlands)

- Critical coarse sediment yield areas to be protected

- Existing topography and impervious areas

- Existing and proposed site drainage network and connections to drainage offsite

- Proposed demolition

- Proposed grading

- Proposed impervious features

- Proposed design features and surface treatments used to minimize imperviousness

- Drainage management area (DMA) boundaries, DMA ID numbers, and DMA areas (square footage or acreage), and DMA type (i.e., drains to BMP, self-retaining, or self-mitigating)

- Potential pollutant source areas and corresponding required source controls (see Chapter 4, Appendix E.1, and Form J-3 and J-4)

- Structural BMPs (identify location, type of BMP, and size/detail)

ATTACHMENT 2

BACKUP FOR PDP HYDROMODIFICATION CONTROL MEASURES

This is the cover sheet for Attachment 2.

- Mark this box if this attachment is empty because the project is exempt from PDP hydromodification management requirements. Provide documentation in this Attachment 2 demonstrating hydromodification exemption.

Indicate which Items are Included behind this cover sheet:

| Attachment Sequence | Contents | Checklist |
| --- | --- | --- |
| Attachment 2a | Hydromodification Management Exhibit (Required) See Hydromodification Management Exhibit Checklist on next page. | - Included |
| Attachment 2b | Management of Critical Coarse Sediment Yield Areas Exhibit and Analysis (Required) See Section 6.2 and Appendix H of the BMP Design Manual. | - Exhibit showing project drainage boundaries marked on WMAA Critical Coarse Sediment Yield Area Map - Analysis per Appendix H |
| Attachment 2c | Channel screening study (SCCWRP) for low flow threshold (Optional) See Section 6.3.4 of the BMP Design Manual. | - Not performed - Included - Submitted as separate stand-alone document |
| Attachment 2d | Flow Control Facility Design, including Structural BMP Drawdown Calculations and Overflow Design Summary (Required) See Chapter 6 and Appendix G of the BMP Design Manual | - Included - Submitted as separate stand-alone document |
| Attachment 2e | Vector Control Plan (Required when structural BMPs will not drain in 96 hours) | - Included - Not required because BMPs will drain in less than 96 hours |

Use this checklist to ensure the required information has been included on the Hydromodification Management Exhibit:

The Hydromodification Management Exhibit must identify:

- Underlying hydrologic soil group

- Approximate depth to groundwater

- Existing natural hydrologic features (watercourses, seeps, springs, wetlands)

- Critical coarse sediment yield areas to be protected

- Existing topography

- Existing and proposed site drainage network and connections to drainage offsite

- Proposed grading

- Proposed impervious features

- Proposed design features and surface treatments used to minimize imperviousness

- Point(s) of Compliance (POC) for Hydromodification Management

- Existing and proposed drainage boundary and drainage area to each POC (when necessary, create separate exhibits for pre-development and post-project conditions)

- Structural BMPs for hydromodification management (identify location, type of BMP, and size/detail)

ATTACHMENT 3

Structural BMP Maintenance Information

This is the cover sheet for Attachment 3.

Indicate which Items are Included behind this cover sheet:

| Attachment Sequence | Contents | Checklist |
| --- | --- | --- |
| Attachment 3a | Structural BMP Maintenance Thresholds and Actions (Required) See Structural BMP Maintenance Information Checklist on the next page. | - Included |
| Attachment 3b | 1. Draft Maintenance Agreement during final engineering review 2. Executed Maintenance Agreement for As-Built | - Included - Not included, project is in design/ planning/CEQA level submittal |

Use this checklist to ensure the required information has been included in the Structural BMP Maintenance Information Attachment:

- Preliminary Design / Planning / CEQA level submittal:

Attachment 3a must identify:

- Typical maintenance indicators and actions for proposed structural BMP(s) based on Section 7.7 of the BMP Design Manual

Attachment 3b is not required for preliminary design / planning / CEQA level submittal.

- Final Design level submittal:

Attachment 3a must identify:

- Specific maintenance indicators and actions for proposed structural BMP(s). This shall be based on Section 7.7 of the BMP Design Manual and enhanced to reflect actual proposed components of the structural BMP(s)

- How to access the structural BMP(s) to inspect and perform maintenance

- Features that are provided to facilitate inspection (e.g., observation ports, cleanouts, silt posts, or other features that allow the inspector to view necessary components of the structural BMP and compare to maintenance thresholds)

- Manufacturer and part number for proprietary parts of structural BMP(s) when applicable

- Maintenance thresholds specific to the structural BMP(s), with a location-specific frame of reference (e.g., level of accumulated materials that triggers removal of the materials, to be identified based on viewing marks on silt posts or measured with a survey rod with respect to a fixed benchmark within the BMP)

- Recommended equipment to perform maintenance

- When applicable, necessary special training or certification requirements for inspection and maintenance personnel such as confined space entry or hazardous waste management

Attachment 3b: For private entity operation and maintenance, Attachment 3b shall include a draft maintenance agreement in the City's standard format (PDP applicant to contact the Land Development Division to obtain the current maintenance agreement forms).

- As-Built submittal:

Attachment 3b: Must be a copy of the executed and recorded maintenance agreement.

ATTACHMENT 4

Copy of Plan Sheets Showing Permanent Storm Water BMPs

This is the cover sheet for Attachment 4.

[USE CITY’S BMP TEMPLATE SHEET]

Use this checklist to ensure the required information has been included on the plans:

The plans must identify:

- Structural BMP(s) with ID numbers matching Form J-6 Summary of PDP Structural BMPs

- The grading and drainage design shown on the plans must be consistent with the delineation of DMAs shown on the DMA exhibit

- Details and specifications for construction of structural BMP(s)

- Signage indicating the location and boundary of structural BMP(s) as required by the City Engineer

- How to access the structural BMP(s) to inspect and perform maintenance

- Features that are provided to facilitate inspection (e.g., observation ports, cleanouts, silt posts, or other features that allow the inspector to view necessary components of the structural BMP and compare to maintenance thresholds)

- Manufacturer and part number for proprietary parts of structural BMP(s) when applicable

- Maintenance thresholds specific to the structural BMP(s), with a location-specific frame of reference (e.g., level of accumulated materials that triggers removal of the materials, to be identified based on viewing marks on silt posts or measured with a survey rod with respect to a fixed benchmark within the BMP)

- Recommended equipment to perform maintenance

- When applicable, necessary special training or certification requirements for inspection and maintenance personnel such as confined space entry or hazardous waste management

- Include landscaping plan sheets showing vegetation requirements for vegetated structural BMP(s)

- All BMPs must be fully dimensioned on the plans

- When proprietary BMPs are used, site-specific cross section with outflow, inflow, and model number shall be provided. Photocopies of general brochures are not acceptable.

Each BMP is Required where feasible. If none are selected for any feature, explain why in Form J-3/J-4-E

Separate wastewater agency approvals will be required.

Structural Treatment Control BMPs (S-BMPs) and Significant Site Design BMPs (SSD-BMPs) may not receive discharges from work areas that concentrate pollutants in a manner that will impair their functioning. Discharges from proposed work area must also be included in DCV calculations for the applicable BMP.

Describe other proposed options for managing stormwater discharges in Form J-3/J-4-E